ZONING STAFF MEETING

Department of Public Utilities Comments


CASE NAME: SPRINGFIELD FARM SOLAR LLC

PROJECT #: CUP2021-00005

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment:	

[bookmark: _GoBack]Comments Below:	


DATE:	  3/18/21				REVIEWED BY: J. Weiler


The Hanover County Department of Public Utilities (DPU) has reviewed the above referenced request and has the following comments:

1. This project is within the Suburban Services Area (SSA).
1. It is Public Utilities’ (DPU) understanding that public water and sanitary sewer service is not required for this project.
1. Stony Run passes through this site.  DPU will require easements to be dedicated as part of the project so that a sewer interceptor can be extended along Stony Run through the site to serve properties upstream of the project.  These easements will need to be 50’ wide.  Additional easements from Stony Run to neighboring properties will be required to provide sewer service to neighboring properties that would naturally drain to Stony Run.   
1. DPU will require that easements be dedicated as part of the project along the entire frontages of Elmont Road and Cedar Lane for future waterlines. 

Please feel free to contact me if you have any questions or concerns. 






