ZONING STAFF MEETING

Department of Public Utilities Comments


CASE NAME: SPRINGFIELD FARM SOLAR LLC

PROJECT #: CUP2021-00005

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment:	

Comments Below:	


DATE:	  4/29/21				REVIEWED BY: J. Weiler


The Hanover County Department of Public Utilities (DPU) has reviewed the above referenced request and has the following comment:

1. The 50’ easement for the sanitary sewer is not shown in the correct location.  It will need to follow Stony Run and the adjacent drainage draws.  Typically, easements for DPU are not shown on CUP drawings because the easement locations are not finalized until the site plan stage.  If you want to show DPU easements on the CUP drawings, the sanitary sewer easement should be corrected and you should show the easements along Elmont Road and Cedar Lane for future waterlines.  If not, remove the sewer easement from the CUP drawing and the location of the required easements will be finalized during site plan review.

[bookmark: _GoBack]Please feel free to contact me if you have any questions or concerns. 






