Conditional Use Permit

Department of Public Works Comments


CASE NAME: Springfield Solar

TRACKIT PROJECT #: CUP2021-00005

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment	

Comments Below	


DATE:	   03/16/2021	REVIEWED BY:   MJD

At the time of site plan:
1) Additional development subject to runoff reduction and channel protection.
2) Residential Runoff Factors will be used post development.
3) Evaluation of permissible velocity in natural channels will be required.
4) Identify wetlands and RPA, provide WQIA certification of these features.  No construction is allowed in these areas without appropriate approvals.  Obtain wetlands approval as needed for any impacts.
5) [bookmark: _GoBack]Floodplain on site will have to be computed/established.
6) Topo may require due consideration of E&S controls.

