# Conditional Use Permit

## Department of Public Works Comments

CASE NAME: Springfield Solar

TRACKIT PROJECT #: CUP2021-00005

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   03/16/2021	REVIEWED BY:   MJD

At the time of site plan:

- Additional development subject to runoff reduction and channel protection.

- Residential Runoff Factors will be used post development.

- Evaluation of permissible velocity in natural channels will be required.

- Identify wetlands and RPA, provide WQIA certification of these features.  No construction is allowed in these areas without appropriate approvals.  Obtain wetlands approval as needed for any impacts.

- Floodplain on site will have to be computed/established.

- Topo may require due consideration of E&S controls.