# Conditional Use Permit

## Department of Public Works Comments

CASE NAME: Springfield Solar

TRACKIT PROJECT #: CUP2021-00005

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   11/27/2023	REVIEWED BY:   MJD

Access roads must minimize impacts to RPA and wetland areas.

At the time of site plan:

- Additional development subject to runoff reduction and channel protection.

- Evaluation of permissible velocity in natural channels will be required.

- Identify wetlands and RPA, provide WQIA certification of these features.  No construction is allowed in these areas without appropriate approvals.  Obtain wetlands approval as needed for any impacts.

- Floodplain on site will have to be computed/established.

- Topo may require due consideration of E&S controls.

- Site must meet DEQ guidance for solar development