## Department of Public Works Comments

CASE NAME: Westmoreland Property Group

TRACKIT PROJECT #: REZ2024-00001

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   01/08/2024		REVIEWED BY:   Michael J Dieter

No comments on the rezoning, comments are on future site plan:

Pipe calculations are available on Hunters Ridge construction plans.  Site must meet state stormwater requirements at the time of development.

Provide a delineation of wetlands, and Chesapeake Bay Resource Protection Area RPA is required if present on the site:

1)	Identify wetlands areas if present.

2)	Identify RPA Areas

3)	Identify floodplain

Water Quality Impact Assessment certifications required.  See WQIA forms available at https://www.hanovercounty.gov/DocumentCenter/Home/View/163