## Department of Public Works Comments

CASE NAME: Rico Morris and Annleeta Chavis

TRACKIT PROJECT #: SE2024-00008

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   05/13/2024		REVIEWED BY:   Michael J Dieter

No comments on zoning action.  Comments are for the building permit for the trailer.

- A site plan will be required to locate the trailer and any associate appurtenances like a driveway, drainfield etc.

- Perenniality studies and wetland delineation along with associated and water quality impact (WQIA)certification required at the time of building permit.