## Department of Public Works Comments

CASE NAME: American Fleet Holdings

TRACKIT PROJECT #: CUP2024-00001

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   01/08/2023		REVIEWED BY:   Michael J Dieter

No comments on the CUP, comments are on future site plan:

On the site plans, a delineation of wetlands, and Chesapeake Bay Resource Protection Area RPA is required if present on the site:

- Identify wetlands areas if present.

- Identify RPA Areas

- Identify floodplain

- Water Quality Impact Assessment certifications required.  See WQIA forms available at https://www.hanovercounty.gov/DocumentCenter/Home/View/163

Any wetland impacts will require approval from the US Army corps of engineers