## Department of Public Works Comments

CASE NAME: Carol and Walter J. Rawls Trust

TRACKIT PROJECT #: REZ2023-00041

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   11/09/2023		REVIEWED BY:   Michael J Dieter

No comments on the zoning actions, comments are on future subdivision:

At the time of preparation of the subdivision plat, provide the following notes:

- Minimize RPA and wetland imp;act for future ROW RPA crossing.

- This property is in/out of a Chesapeake Bay Resource Management Area.  This property contains/does not contain a 100’ Resource Protection Area Buffer.*

- All lots located within a Chesapeake Bay Preservation Act Area are required to have a 100% reserve drain field.

- All septic systems located within a Chesapeake Bay Preservation Area (Resource Management Area) must be pumped out every 5 years.

- Resource Protection Areas are to be retained as undisturbed and vegetated 100’ wide buffer area, as specified in Chapter 10 of the Hanover County Code.

- Only water dependent facilities and redevelopment, as defined in Chapter 10 of the Hanover County Code are permissible within the Resource Protection Area, including the 100’ wide buffer.

- Property lies within a F.E.M.A. defined flood zone “____” per community panel number ____________, dated __________.

On the plat, a delineation of wetlands, and Chesapeake Bay Resource Protection Area RPA is required if present on the site:

- Identify wetlands areas if present.

- Identify RPA Areas

- Identify floodplain

- Water Quality Impact Assessment certifications required.  See WQIA forms available at https://www.hanovercounty.gov/DocumentCenter/Home/View/163