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No comments on Rezoning

Comments on future development.
1. Wetlands delineation, evaluation of CBPA and extent of RPA required. Water quality impact assessment certification required along with associated supporting information.   
2. Additional development subject to runoff reduction and channel protection.
3. With the large increase in impervious area, it is likely that the onsite detention of stormwater will be required.
4. If development is 5 acres or more or 10lb or more of phos load, 75% of nutrient reduction must be met on site.
5. Analysis of downstream manmade and natural systems to a point where the site is less than 1% of drainage area will likely be required.
6. Use new DEQ Virginia Stormwater Management Handbook for E&S and Stormwater design and specifications.

