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No comments on zoning actions

Comments on future development.
1. Wetlands delineation, evaluation of CBPA and extent of RPA required. Water quality impact assessment certification required along with associated supporting information.   
2. Additional development subject to state stormwater requirements and meet runoff reduction, channel protection, and flood protection requirements.
3. With the large increase in impervious area, it is likely that the onsite detention of stormwater will be required.
4. If development is 5 acres or more or 10lb or more of phos load, 75% of nutrient reduction must be met on site.
5. Analysis of downstream manmade and natural systems to a point where the site is less than 1% of drainage area will likely be required.
6. [bookmark: _Hlk210727419]Holtzgraph Dam #085017 located onsite is regulated by DCR.  Dam must be compliant with dam safety requirements if it remains.
7. [bookmark: _Hlk208814558]Onsite ponds must meet the requirements of the Hanover County Drainage Design Handbook.    Holtzgraph Dam #085017  must be current with state permitting and meet Hanover County requirements.
