## Department of Public Works Comments

CASE NAME: Closet Factory

TRACKIT PROJECT #: SE2024-00009

PLEASE MARK THE APPROPRIATE BOX BELOW:

No Comment

Comments Below

DATE:	   05/13/2024		REVIEWED BY:   Michael J Dieter

No comments on zoning action.  Comments are for additional development.

- Additional impervious will require site to meet state stormwater requirements either for sheet flow, or concentrated runoff.  Analysis of impacts to adjacent properties and resources is required at a minimum.  Analysis of runoff reduction (nutrient reduction) and channel protection as well as permissible velocity from the site may be required.

- Perenniality studies and wetland delineation along with associated and water quality impact (WQIA)certification required.

- Steep terrain shown in area of new parking behind existing structures and new building.  Site discharge must meet permissible velocity.  Provide cross section to show that this is met.

- Approval of wetland impacts is required prior to site plan approval.

- Any impact to the floodplain will require an analysis of the effect on the floodplain and a demonstration consistent with Hanover floodplain ordinance.